## Paragraph text
Eighteen years after Hurricane Charley made landfall in 2004, Hurricane Ian made landfall in nearly the same location, also as a Category 4 hurricane.
Unlike Hurricane Charley (2004), water more so than wind was the impetus behind the disaster that unfolded.
Despite being a below- design-level wind event, the large windfield drove a powerful storm surge as much as 13 ft high (relative to the NAVD8 vertical datum) in the barrier islands of Sanibel, Ft. Myers Beach, and Bonita Beach.
Flooding was extensive along not only the Florida coast, but also well inland into low-lying areas as far north as Duval County and the storm’s second landfall site in South Carolina.
As such, Hurricane Ian will likely be one of the costliest landfalling hurricanes of all time in the US, claiming over 100 lives.
The impacts from Hurricane Ian were most severe in the barrier islands from the combination of storm surge and high winds, with many buildings completely washed away, and others left to deal with significant scour and eroded foundations.
Several mobile/manufactured home parks on the barrier islands fared particularly poorly, offering little to no protection to anyone unfortunate enough to shelter in them.
The damage was not restricted to buildings, as the causeways out to the barrier islands were washed away in multiple locations.
In contrast, wind damage from Hurricane Ian appears less severe overall relative to other Category 4 storms, perhaps due to a combination of actual wind intensity being less than Category 4 at the surface at landfall, and the improvements in building construction that have occurred since Hurricane Charley struck 18 years earlier.
It is notable that extensive losses were in part driven by decades-long construction boom of residential structures in Ft. Myers and Cape Coral since the 1950s and 1960s, expanding communities and neighborhoods encroaching upon vulnerable coastlines.
Beyond serving as an important event to validate current and evolving standards for coastal construction, Hurricane Ian provides a clarion call to reconsider the ramifications of Florida's coastal development under changing climate.
This Preliminary Virtual Reconnaissance Report (PVRR) is the primary product of the StEER Level 1 response to Hurricane Ian, intended to.
provide an overview of Hurricane Ian, particularly relating to wind and storm surge hazards and their impact on the built environment, establish the regulatory environment and construction practices in the affected area, synthesize preliminary reports of damage to buildings and other infrastructure, and provide recommendations which include.
Performance of Elevated Buildings Subjected to Coastal Hazards Characterization and Prediction of Coastal Hazards Performance of Nature-Based Protective Systems Performance of Infrastructure Under Coastal Hazards Performance of Power Infrastructure Under Combined Hazards Serving as a synthesis document, the PVRR is accompanied by a Media Repository providing a rich collection of georeferenced visual evidence cataloged by infrastructure class.
Interested readers may also consult the accompanying Outage/Restoration Database for a chronology of disruption/outage/restoration data for power, telecommunications, and transportation networks.
Hurricane Ian made landfall near Cayo Costa, FL as a Category 4 hurricane according to the National Hurricane Center, with peak sustained wind speeds over water estimated at 150 mph (NHC 2022a), a minimum surface pressure of 940 mb, and preliminary storm surge inundation measurements of 13 ft relative to NAVD88 (USGS, 2022).
The results were catastrophic in terms of both damage to infrastructure and loss of human life on the densely-populated west coast of Florida, particularly in the barrier islands off Ft. Myers and Cape Coral.
Tragically, preliminary numbers available at the time of this report confirm that Ian has caused over 100 fatalities in Florida, the highest direct loss of life in any hurricane landfalling in Florida since the 1935 Labor Day hurricane.
The fatalities are primarily associated with the heavy storm-surge that struck the barrier islands of Sanibel, Ft. Myers Beach, and Bonita Beach.
Wind damage was generally less severe, but widespread roof cover loss and other building envelope damage will drive economic losses.
Extensive inland flooding due to heavy rainfall was reported across Florida and into the Carolinas as Ian made a second landfall there.
Hurricane Ian will likely be one of the costliest landfalling hurricanes of all time in the US, despite it being a below-design wind event.
Risk modelers estimated wind and coastal storm surge losses of $40-$74 billion (see Appendix A).
These estimates do not include losses due to inland flooding covered by the National Flood Insurance Program (NFIP) and uninsured losses, which are likely to be high given the extensive inland flooding and low percentage of homes with flood insurance in these areas.
While making landfall in the same location as Hurricane Charley did 18 years earlier, with similar peak sustained wind speeds, damage from Charley was primarily driven by high winds concentrated within a fairly narrow band of this relatively small hurricane.
In contrast, Ian was a larger storm and as a result drove a much higher storm surge that was upwards of 13 ft above NAVD88 based on preliminary measurements.
The surge impacted regions with high population densities housed in both elevated and on-grade residential structures, including mobile and manufactured home parks, along hundreds of miles of canals and coastal frontage in Cape Coral, Ft. Myers, and nearby barrier islands.
Despite the lessons on wind mitigation learned from Hurricane Charley 18 years earlier, these communities were ill-prepared for the storm surge and flooding produced by Hurricane Ian, highlighting vulnerabilities that likely exist in many similar communities along coastlines around the US.
The storm-related death toll from Hurricane Ian was 125 as of November 10, 2022.
The death toll included 119 storm-related fatalities in Florida (FDME, 2022), five in North Carolina, and one in Virginia (Smith et al.2022).
At the time of this report, official numbers were not yet available differentiating between direct and indirect fatalities.
The majority of the deaths (57) were reported in Lee County, FL, and an estimated 60% were caused by drowning (WKYC, 2022).
The historical context of these numbers remains to be quantified once official direct and indirect fatalities are available.
For a preliminary comparison, Hurricane Irma (2017) caused 11 direct deaths and 115 indirect deaths (Issa, 2018).
Hurricane Michael (2018) caused 8 direct deaths and 43 indirect deaths (Beven et al.2019).
Hurricane Andrew (1992) caused 15 direct deaths and 29 indirect (Combs et al.1996).
The earliest forecasts of Hurricane Ian targeted the gulf coast of Florida (Fig.1.1).
As time progressed, the forecast track shifted from the Ft. Myers region (Advisory 2, 11AM EDT Sept. 23rd) to the Big Bend (Advisory 10, 11AM EDT Sept. 25), before trending south with all subsequent forecasts towards the Tampa region (Advisory 14, 11 AM EDT Sept. 26) and eventually Punta Gorda (Advisory 22, 5 AM EDT Sept. 28), which was approximately where Hurricane Ian made landfall.
Lee County, the scene of the heaviest impacts, was under a Tropical Storm Warning by 5 PM EDT on Sept. 26th, and a Hurricane Warning by 8 AM EDT on Sept. 27th.
The first evacuation order for Lee County (Zone A) was issued at 7 AM EDT on Sept. 27th, approximately 32 hours prior to landfall, and 13 hours prior to the most likely time of the arrival of Tropical Storm force winds (>39 mph) in the Ft. Myers region, as predicted by the National Hurricane Center.
Evacuation orders for Zone B of Lee County were issued at 8:30 AM EDT, and for Zone C, covering up to several miles inland, at around 2 PM EDT.
See Appendix B for summary of evacuation orders by geography.
At the state level, Governor DeSantis issued a State of Emergency for many of the southern and central peninsular counties in Florida on September 23, 2022 under Executive Order 22-218 (DeSantis, 2022a).
The State of Emergency was extended statewide on September 24, 2022 under Executive Order 22-219 (DeSantis, 2022b).
Hurricane Ian came ashore as a powerful Category 4 hurricane as estimated by the National Hurricane Center, with the large wind field driving catastrophic storm surge levels into densely populated regions of the west coast of Florida.
As such, this Preliminary Virtual Reconnaissance Report (PVRR) is the primary product of the StEER Level 1 response to Hurricane Ian, intended to.
overview of Hurricane Ian, particularly relating to wind and storm surge hazards and their impact on the built environment, establish the regulatory environment and construction practices in the affected area, synthesize preliminary reports of damage to buildings and other infrastructure, and provide recommendations for continued study of this event by StEER and the wider engineering reconnaissance community.
Tropical storm Ian formed over the Central Caribbean Sea on September 23, 2022 with the NHC reporting the possibility of hurricane conditions in the Cayman Islands; a hurricane warning was issued for the Grand Cayman Islands within a day and extended to the Cuban provinces of Isla de Juventud, Pinar del Rio, and Artemisa over the next 24 hours (Fig.2.1a).
Ian was officially classified as a Hurricane on Sept. 26, 2022, with the first hurricane warning for the US issued on the same day.
The hurricane warning included the areas from Englewood to the Anclote River, including Tampa Bay, as well as the Dry Tortugas (Fig.2.1b).
In the next 2 days, Hurricane Ian continued its initially NNW and then NNE path, with rapid strengthening, eventually making landfall on September 28, 2022 near Cayo Costa, Florida, as a Category 4 hurricane (Fig.2.2).
At the time of landfall, the Category 4 hurricane was moving forward (NNE or 15 degree) at approximately 9 mph, with maximum sustained wind speeds of 150 mph and a minimum central pressure of 940 MB (Fig.2.3).
Shortly after, the NHC reported a wind gusts of 124 mph (200 km/h) at Punta Gorda airport and 128 mph (177 km/h) at a station in Grove City, FL (NHC, 2022b).
Based on the landfall reported data, Hurricane Ian is now tied with Hurricane Charley (2004) in terms of landfall intensity on the west coast of the Florida Peninsula.
Ian’s mainland Florida landfall occurred approximately 1.5 hrs later, just south of Punta Gorda near Pirate Harbor, with a maximum sustained wind speed of 145 mph and a minimum central pressure of 942 MB.
Figure 2.2 Hurricane Ian’s path before reaching Florida’s West Coast (Source: NHC/NOAA).
Figure 2.3 Satellite image right before Hurricane Ian made landfall near Cayo Costa, Florida as a Category 4 hurricane (Source: NHC via Twitter).
Hurricane Ian was categorized as a Category 4 hurricane at landfall (131-155 mph 1-minute sustained winds at 10 m above ground level in open terrain), but surface wind observations published at the time of this report do not corroborate this designation.
Appendix C (Table C1) summarizes a collection of surface observations primarily from Automated Surface Observing Systems (ASOS), mobile pre-deployed research towers from the University of Florida and the University of Illinois at Urbana-Champaign, and the WeatherFlow HurrNet and ProNet mesonets.
The highest reported gust was 134 mph (3-s gust averaging time, 10 m height, open exposure) by the Punta Gorda Airport ASOS at 4:15pm local time, when winds were out of the east.
A Grove City, FL WeatherFlow HurrNet station reported a 130 mph gust from the north at 65 ft AGL over open exposure, which would reduce to ~120 mph at standard meteorological reporting conditions using the Simiu and Scanlan (2003) gust conversion method.
Outside of the landfall region, wind gusts between 60 and 85 mph were observed along the east coast of Florida and between Charleston and Myrtle Beach, SC, where Hurricane Ian made landfall for the second time as a Category 1 hurricane.
As illustrated in Figure 2.4, the estimated wind field for Hurricane Ian produced by ARA, conditioned to the surface observations, indicate observed wind speeds were at most 80% of design levels near the Punta Gorda airport.
Peak wind loads would thus be ~64% of design levels for a typical building with a 700-year Mean Recurrence Interval (MRI) based on ASCE 7-16.
Hurricane Ian generated a significant storm surge causing severe coastal flooding from Port Charlotte to the Upper Florida Keys.
Hurricane Ian’s size, fueled by the warm waters of the Gulf of Mexico and its slow forward propagation up Florida’s Gulf Coast influenced the severity of the surge.
Hurricane Ian generated maximum water elevations of over 3 m (10 ft) above mean sea level (MSL) near Fort Myers and Cape Coral.
Significant storm tides were also observed in Marco Island and the Upper Florida Keys.
Figure 2.5a shows modeled maximum water surface elevations for South Florida output by the ADCIRC Surge Guidance System from Coastal Emergency Risks Assessment (CERA).
Following its impacts in Florida, Hurricane Ian made another landfall south of Georgetown, SC on the afternoon of September 30 as a Category 1 storm.
Figure 2.5b provides ADCIRC projections for maximum water surface elevations along the Georgia, South Carolina, and North Carolina Coasts provided by CERA.
Nearby tide buoys similarly recorded impacts of the hurricane on tides and water levels.
Figure 2.6 shows water levels in meters recorded with respect to MSL at NOAA stations located at (a) East Bay, near the City of Tampa, (b) Port Manatee, near the mouth of Tampa Bay, (c) Fort Myers, and (d) Naples.
The hurricane caused a negative storm tide in Tampa Bay, with water levels receding to -2 m (6.5 ft) with respect to MSL at East Bay (Fig.2.6).
The storm tides recorded at the Fort Myers and Naples locations were significant, with peak water levels (referenced to MSL) reaching 2.42 m (8 ft) at the Fort Myers station.
Peak water levels at the Naples station reached 2.26 m (7.41 ft) with respect to MSL before the buoy malfunctioned.
The storm surge generated by Hurricane Ian was accompanied by riding waves; offshore waves reached 3.4 m (11 ft) during the storm at the NDBC Station, in Egmont Channel Entrance, FL, offshore of Tampa Bay in 12 m (40 ft) water depth.
USGS FLWC 17A measured waves of approximately 4 ft atop a storm tide that reached a filtered height of 13 ft above NAVD88 (Figure 2.7) in Sanibel.
Surge and riding waves are associated with the significant coastal damages observed along the barrier islands of Fort Myers Beach, Sanibel and Captiva, as described in Sections 4 to 6.
Hurricane Ian dropped heavy rainfall across the state of Florida, as shown in Figure 2.9.
Fritz and Miller (2022) reported several locations experiencing a 1000-year (0.001 annual exceedance probability) rainfall event, including Placida (>15 inches in 12 hours) and Lake Wales (almost 17 inches in 24 hours).
Appendix C reports locations across Florida for which Ian-induced rainfall totals exceeded 10 inches (Argueta, 2022).
Heavy rainfall caused inland flooding across Florida, with flash flood warnings issued for Orange, Osceola, Seminole, Brevard and Volusia counties (Fritz and Miller, 2022).
These rainfall totals can be attributed to several factors, including the storm’s slow forward progression and large size and warming air temperatures that allow air to hold more water vapor (Van Oldenborgh et al., 2017).
Following landfall in South Carolina, remnants of Hurricane Ian also produced significant rainfall across the mid-Atlantic states of South Carolina, North Carolina, and parts of Virginia and Maryland.
According to the National Weather Service (NWS), there were 139 Tornado Warnings from September 27 to September 30 in Florida, with locations displayed in Figure 2.10.
The Storm Prediction Center issued 12 tornado reports in Florida with 11 being on September 27.
As of September 30, the Center reported one tornado at Holden Beach, Brunswick County, North Carolina.
According to the Public Information Statement of NWS, Miami, FL, these warnings had confirmed at least seven tornadoes with rankings of EF0, EF1, or EF-2 based on the Enhanced Fujita Scale (as of September 30, 2022).
Appendix C provides further details on these reported tornadoes.
It should be noted that 2 injuries and damage at the Florida Atlantic University Campus were reported as a result of the 130 mph estimated peak wind speed of the EF2 tornado in Boca Raton.
Hurricane Ian (2022) has many similarities to Hurricane Charley (2004), including having an almost identical landfall location (Cayo Costa, FL), having the same Category 4 rating at landfall, and having identical or nearly identical maximum sustained wind (150 mph in both) and minimum pressure estimates at landfall (NCEI, 2004).
However, the two storms had very different hazard characteristics as summarized by Table 2.1 and Figure 2.11.
Florida relies on two codes to regulate most building construction: (1) the Florida Residential Code and (2) the Florida Building Code.
While the Florida Residential Code provides regulations and guidance for the construction of one and two-family dwellings, the Florida Building Code addresses all other permanent buildings and structures.
The Florida Building Code released in 2010 was primarily based on the 2009 International Building Code.
The 2009 International Building Code did not incorporate the specifications of ASCE 7-10 at that time.
From 2012, the ASCE 7-10 served as the foundation of the Florida Building Code.
According to the latest version of Florida Building Code, wind loads on buildings must be calculated using Chapters 26-30 of ASCE 7.
See Table 3.1 for the history of code adoption in the landfall region.
Design wind speeds should be determined from the maps given in Figures 1609.3(1), 1609.3(2), and 1609.3(3) of the 2017 Florida Building Code, Sixth Edition.
Fig.3.1 illustrates the design wind speeds from ASCE 7-16 Risk Category 2 structures (700-yr mean reoccurrence interval) the landfall region.
Mobile and manufactured1 home regulations in Florida are managed by the Florida Department of Highway Safety and Motor Vehicles and provided in Rule 15C-1.0102 of the Florida Administrative Code.
Counties may have more stringent standards.
The regulations require compliance with manufacturer installation standards unless otherwise noted in Rule 15C.
Design provisions refer to the HUD Wind Zone regions for mobile and manufactured homes, in which coastal regions of south and central Florida fall under Wind Zone III.
Storm surge loads are not included in the anchorage requirements or superstructure design based on the HUD manufactured home installation standard (HUD, 2022).
Hurricane Charley’s impacts in 2004 spurred several changes to the Florida Building Code, summarized as follows (Dixon, 2009).
Improved requirements for wood to masonry wall interfaces Improved requirements for roof tile attachment Adoption of standards that rated asphalt shingles based on wind speed resistance Requirement to improve roof deck nailing when reroofing existing buildings Adoption of wind pressure criteria for soffits Adoption of requirements for labeling of windows, garage doors, and shutters for wind pressure.
The FL Coastal Construction Control Line (CCCL) is another important part of Florida’s regulatory environment and was first implemented in the late 1970s, with the most recent updates in Lee County implemented in 1991.
The CCCL delineates that area of the beach-dune system that is expected to be subject to severe fluctuation resulting from a 100-year storm event.
The 100-year storm elevation requirements for habitable structures located seaward of the coastal construction control line ensure that the lowest horizontal structural member of the building is placed at an elevation above the predicted breaking wave crest, termed the 100-year storm elevation.
All major structures are required to be designed to resist the predicted forces associated with a 100-year storm event.
On Sanibel Island, the CCCL approximately aligns with Gulf Blvd, and in Fort Myers Beach, CCCL closely follows Estero Blvd.
Base Flood Elevations are highly variable seaward of the CCCL on both islands, with Base Flood Elevations between 15 and 17 feet at the coastline in most areas.
Tables 4.1 and 4.2 provide a synthesis of the typical performance of buildings in this event, respectively organized by occupancy and geography.
The subsections that follow present notable case studies.
Readers may consult the imagery compiled in the accompanying Media Repository, curated with this report in DesignSafe, to access a richer collection of georeferenced visual evidence cataloged by occupancy.
Tables 5.1 and 5.2 provide a synthesis of the typical performance of other infrastructure classes in this event, respectively organized by class and geography.
The subsections that follow present notable case studies.
Readers may consult the imagery compiled in the accompanying Media Repository, curated with this report in DesignSafe, to access a richer collection of georeferenced visual evidence cataloged by infrastructure class.
Interested readers may also consult the Outage/Restoration Database, curated with this report in DesignSafe, for a chronology of disruption/outage/restoration data for power, telecommunications, and transportation networks.
The strong hurricane winds associated with Hurricane Ian caused widespread power outages in Florida, recording peak outages of 2,697,372 on September 29th at 3PM (Florida Public Service Commission, 2022).
Charlotte, Desoto, Hardee, Lee, and Sarasota counties in Florida had more than 80% of consumers without power (Fig.5.1).
Lee, Charlotte, and De Soto counties took almost nine days to restore power to 80% of consumers.
Meanwhile, North Carolina had power outages of more than 358,000 (Dean, K. Cataudella, K., 2022); South Carolina had more than 180,000 power outages (Mejia, J., 2022), and Virginia had more than 100,000 power outages (Flickinger, G., 2022).
As of October 3, 2022, Florida had 1.2 million outages; North Carolina had 294,000 outages; Virginia had 77,000 outages, and South Carolina had 47,000 outages (Poweroutage.us,, 2022).
Many households in Florida have adopted solar panels as a source of energy.
There have been a total of 155,383 solar panel installations in Florida (Yu et al.2018), out of which 90.7% (140,265) are residential installations, and 9.3% (15118) are commercial installations.
Over 90% of the solar panels have been installed since 2017.
Solar panels can provide access to continuous power supply when a hurricane damages the primary grid, as exemplified in Hurricane Ian by Babcock Ranch, a community located 12 miles northeast of Fort Myers.
The community has 700,000 solar panels, which continuously provided electricity for 2,000 households throughout Hurricane Ian’s passage.
These solar panels showed good structural performance with no damage (Ramirez, R., 2022), albeit under below- design wind speeds (90-100 mph according to the ARA wind field estimate).
Beyond Babcock Ranch, however, aerial imagery from NOAA revealed damage to roof solar panels in areas that observed higher peak wind gusts.
A preliminary assessment conducted in multiple neighborhoods in Cape Coral and Fort Myers identified 30 rooftop panel installations with severe damage (Fig.CS.5.1).
An example of typical damage is shown in Fig.CS.5.2.
Field inspections can reveal less visible damage to the panels (Burgess & Goodman, 2018; Ceferino et al., 2022), identify specific failure mechanisms (e.g., cracks and local failures in the rack, panel connection, or roof attachment), and evaluate the impacts on continuous power access and building functionality.
Figure 5.2 summarizes the progression of road closures during the landfall of Hurricane Ian, initiating with coastal roadways and causeways in Lee County inundated by storm surge, which in several cases caused structural damage.
This includes all the bridges to Pine Island (Gallman, 2022), the roadway connecting Captiva and Sanibel Islands, the Sanibel Causeway connecting Sanibel Island to Fort Myers (Levy, 2022), the Big Hickory Bridge, and Little Hickory Bridge (fl511.com).
Damage was also observed to coastal highways in Fort Myers, with the most characteristic case being McGregor Blvd.
The most common pattern of failure was the severe coastal erosion near the causeways and roads that led to scour and partial damage (e.g., differential settlements) or washout of pavements and causeways, and the damage to approach slabs, as shown in Figure 5.3.
As Hurricane Ian moved towards the northwest, causing intense precipitation with long durations, inland transportation networks of central and northwest Florida were disrupted due to rainfall- induced flooding (Fig.5.2).
For example, roadways and bridges were closed due to submergence by the inland flooding in Arcadia where the Peace river reached record breaking levels, at Manatee Sarasota County Line.
Although many inland roads and bridges survived the flooding, some witnessed major damage, such as SR-37 at Manatee Polk County, experienced wash outs, while other locations experienced scour of roads and culverts (Wicks, 2022).
Despite the extensive damage to several bridges and roadways in coastal and inland areas, the Florida Department of Transportation was able to quickly restore access to barrier islands, e.g., Pine Island causeway was reopened in under 3 days (Yablonski, 2022).
A notable case is the failure of the Sanibel Causeway, experiencing three different types of damage at different locations (see Fig.CS.5.3).
The Sanibel Causeway consists of three bridges (A, B, C) and two islands (Causeway Island Park A, B) as shown in Fig.CS.5.3.
Interestingly, in contrast to past hurricanes (e.g.Hurricane Katrina) that had uplifted bridge superstructures in multiple locations of the Gulf Coast Region, in this case the superstructures and their connections to the substructure (piers) were intact and the damage occurred at the approach slab of both Bridge A (on the mainland side) and Bridge B (on the south side).
In both cases the approach slab was elevated (same elevation with the bridge span) and was supported on backfill material that was protected by wing-walls consisting of modular panels restrained by soil anchors embedded in the compacted fill.
These panels were exposed to lateral loads from the surge and the waves.
Since there is no observed erosion of the area in the vicinity of the wing-walls, it could be hypothesized that the lateral hydrodynamic loads made some of the panels unstable, which exposed the backfill material to hydrodynamic actions and scour.
Once the backfill material started undergoing scour, the vertical pressures that were applied by the backfill on the slab and helped keep the slab in place were reduced, essentially leading to a simply supported slab.
Two other types of damage were also observed in the Sanibel Causeway, particularly ‘at the two islands.
The first type was the partial damage of the pavements on the seaward side, which was caused by the erosion of the soil below the roads, and the second type was the total washout of the road with the island below it (see Fig.CS.5.3).
Interestingly, for both island A and B, the first type of damage occurred towards the north side of the island and the second type (total washout) occurred towards the south end.
As shown in Figure CS.5.4, for island A at the location where a total washout was observed, the road was very close to the shore, which means that it could be exposed to surge and direct impact from the waves.
On the other hand, at the location with partial damage and scour of the pavement, the road was located further from the shore.
This would consequently imply that while in the former case the road would be subjected to hydrodynamic effects (e.g., scour) immediately after the instant at which the surge and waves reached the elevation of the road, in the latter case the road would be subjected to the same effects only after the sandy beach (on the seaward side) would have been eroded.
Apart from this hypothetical explanation, other potential reasons that could have contributed to the different levels of damage are (i) differences in road elevations, (ii) directionality effects which may be important in the case of skewed bridge superstructures subjected to extreme
Hurricane Ian caused damages to the telecommunication systems of Florida and South Carolina.
The west coast of Florida and the Ft. Myers area are the most heavily impacted regions.
The Federal Communications Commission (FCC) reported that cell service outages dropped from 65.0% to around 5.0% between September 29, 2022 and October 10, 2022 (Fig.5.4a).
The total number of wireline/cable users affected in Florida dropped from around 320,000 users to around 110,000 users between October 1, 2022 and October 20, 2022 (Fig.5.4b).
As documented in the accompanying media repository, the collapse of a cell tower in Boca Grande, FL, on a business impacted both the telecommunication system and the adjacent building.
Seawall collapses were reported along the Atlantic coastline of Florida at Daytona Beach Shores (Burbank, 2022), damaging surrounding facilities like pool decks and boardwalks.
The seawall appeared to be lightly reinforced precast concrete with a height of around 10 ft and thickness of approximately 8 in.
Poor connection between the seawall on the foundation played a prominent role in the collapse of the seawall.
See the accompanying Media Repository for images of this failure.
A levee in Hidden River in Sarasota County, FL, was also breached, causing severe localized flooding (Clowe, 2022).
According to the National Levee Database, the Hidden River levee is a 1.98 mile embankment levee along the Myakka River that protects about 20 buildings along Hidden River Rd.

## Table text
Hurricane Ian - Released: November 16, 2022 NHERI DesignSafe Project ID: PRJ- 3709
Academic Organization Focusing on Earthquake Hazard
*prematurely failed; peak effects possibly not captured (FEMA, 2005)
Single-family housing performance was variable, with exposure to surge hazard being a primary driver of structural failures.
Such damage was primarily restricted to the barrier islands (e.g., Sanibel, Fort Myers Beach, Bonita Springs), where many homes were completely washed away and many others lost breakaway walls.
Mobile/manufactured housing and RV parks were the most susceptible to the damage as they lacked the elevation and lateral force resisting systems necessary to resist any significant storm surge-induced loads.
Wind damage was primarily limited to building envelopes in site-built homes, and even that was isolated based on the imagery available at the time of this report.
More severe damage, including structural failures, were observed in some mobile/manufactured housing and RV parks in Fort Myers, FL.
Many single-family residential buildings constructed using slab-on-grade were also exposed to significant inland flooding.
Hotels built on the shorelines incurred damages, mostly in the form of damage to the cladding and windows and washout of equipment and walls at the ground floor.
A few wood-frame multi-family residential structures on or along the causeways to the barrier islands experienced significant structural damage, including complete roof structure failure and wall collapse, but such damage was atypical.
Roof cover loss was widespread.
Several multi-family units in Delray Beach, FL suffered structural damage from a cyclone-induced tornado rated EF3 by the National Weather Service.
Many restaurants and other commercial facilities located on the shorelines were damaged due to high winds and storm surge, including multiple buildings completely washed away.
Wind-only damage was generally restricted to minor roof cover and wall cladding loss, but such damage extended as far inland as Orlando, where one of the rides at Universal Studios Theme Park lost a portion of the wall siding.
Direct impacts to hospitals and indirect impacts to supporting infrastructure forced 642 patients to be evacuated from 6 health care facilities in Charlotte, Lee, Sarasota, Orange, and Volusia Counties (FL Gov, 2022).
HCA Florida Fawcett Hospital in Port Charlotte experienced surge-induced flooding in the ground floor emergency room and partial loss of the built-up roof.
Hospitals in the impacted area suffered severe staffing shortages due to displaced workers (FHA, 2022).
Wind damage to schools appears to be minor, with damage reports focusing on roof cover loss and damage to appurtenant structures.
The surge and flood impacts were more severe, particularly in Lee County.
Elementary all experienced significant flooding, with high water marks documented near the top of the ground level door at Fort Myers Beach Elementary (Speck, 2022).
Mobile/manufactured homes (MH) suffered widespread damage from wind, surge, and inland flooding.
Multiple MH parks on or near the barrier islands were washed away.
Away from the wave action, structural damage from wind was common, but not uniform.
Many MH, even what appeared to be older (pre-1994) homes, within the area of highest impacts experienced no structural damage.
Cladding damage and damage to attachments (e.g., porch overhangs) was frequently observed.
Several critical facilities experienced significant flooding, but no reports of significant structural damage have been found.
Venice Theater, a historic building in Venice, FL, experienced severe damage to its roof and part of its exterior wall, with only the structural framing remaining.
No other reports have been obtained at the time of this report.
Roof cover loss and flooding was frequently observed in churches, but no reports of structural damage have been found.
Several religious facilities are located on the barrier islands and appear to still be structurally functional based on review of aerial imagery, but the full damage extent is not known at this time.
The worst damage is observed in this region, but performance overall is highly variable.
Many structures built at ground level, primarily those exposed to wave action, were completely washed away but this damage is not uniform as many also remain standing, albeit with significant interior damage and contents loss.
Many elevated structures remain standing and show little evidence of exterior structural damage beyond removal of breakaway walls.
Interior damage due to flooding is likely extensive in areas closer to the coast, but most site-built structures do not show any visible exterior damage.
Visible damage is almost exclusively limited to roof cover, wall cladding, and attached signs or facades.
Damage appears to be somewhat more frequent in Port Charlotte than in Cape Coral and Ft. Myers based on the preliminary review of aerial imagery and other public data sources.
Only isolated reports of wind damage to the building envelope have been reported in the inland communities.
Flooding was widespread, however, and likely affected many buildings.
Also multiple cyclone- induced tornadoes were reported, in some cases causing severe structural damage.
Isolated reports of minor damage to buildings in this region are available.
Power infrastructure was more critically damaged in southwest Florida near the landfall area, causing power outages for several days.
Many power poles and other infrastructure in the worst-impacted areas were observed to be still standing, but will require significant repairs.
There were minor damages to airport facilities, including Sarasota- Bradenton International Airport and Venice (Florida) Municipal Airport.
Several metal hangar buildings were observed with structural damage, but no widespread structural failures were observed.
In contrast to past major hurricanes like Hurricane Katrina, there was almost no damage to bridge superstructures and to their connections to the substructure, which is encouraging.
On the other hand, it was revealed that the weak component was the approach slab, which failed at different locations, both on the coast (due to surge, waves) and far from the coast (due to inland flooding).
Moreover, extreme coastal erosion near transportation infrastructure led to scour and different damage levels to roads and pavements, including differential settlements caused by the removal of the soil below the road, and the washout of pavements.
Telecommunications infrastructure primarily in southwest Florida was not functional following the storm due to loss of power, flooded generators, and in at least one case, the collapse of a cellular tower.
Damage to water, wastewater, and other lifelines is not available at this time.
Damage to port facilities was limited to piers and seawalls damaged by storm surge in Florida.
Structural damage to agriculture facilities was limited to only a few isolated cases.
Overall agricultural impact of Hurricane Ian was much larger however, particularly for the citrus industry, due to wind damage to crops.
Power infrastructure was critically damaged, causing power outages for several days.
A collapsed cell tower was observed in Boca Grande, FL.
Access bridges to the islands and port facilities were severely damaged.
A section of Pine Island road near Matlacha Pass road partially collapsed.
The Sanibel Island causeway was washed out.
The coastal roads of Sanibel Island were flooded.
The iconic pier was extensively damaged, and floating docks were twisted at Fort Myers.
Power lines were typically supported by concrete poles that from preliminary observations seem to have performed well overall.
Power infrastructure was critically damaged, causing power outages for several days.
Port facilities and marinas were considerably damaged.
There were slight damages to airport facilities, including Venice Municipal Airport and Sarasota-Bradenton International Airport.
Power infrastructure was considerably damaged, causing power outages for several days.
In central Florida, falling trees caused damage to the power transmission lines.
There are reports of damages to agricultural facilities.
A levee was in danger of failing in the Hidden River area, threatening even more extensive flooding in the region.
Isolated damage to power infrastructure caused power outages for several days.
In Daytona Beach, there was extensive damage to the seawalls.
Isolated damage to power infrastructure, notably downed power lines.
Infrastructure of interest - Highly vulnerable structures with severe damage or collapse - Highly engineered structures with lower damage
Resources - Availability/interest of members in the impacted region - Availability of sufficient support from regional nodes - Availability of imaging hardware - Access and safety - Driving access to affected areas - Collaboration Potential - Other EER’s deployment (GEER, NEER) - FEMA pre-MAT
Unique Hazard characteristics - Some aspects of the event exceed code requirements or expected performance - Site-specific hazards require up-close evaluation, e.g., evidence of high water marks
Infrastructure of interest - Performance/failures observed requires direct access to load path or other details to ascertain causes, e.g., damages caused by uplift effects - Identification of multiple structures suitable for in-depth forensic investigation
Resources - Up-close access to targeted structures is anticipated - Availability/interest of members with logistics plan to travel to site
Extent of damage (greater than localized Level 2 event) requiring multiple field teams or multiple field visits
Insured wind losses of $23-$35 billion Insured flood losses of $8-$18 billion Uninsured flood losses $10-$17 billion
Insured wind losses of $46-$67 billion Insured surge losses of $6+ billion - Insured inland flooding losses of $1+ billion (excludes NFIP losses of $10 billion)
Total insured loss, excluding NFIP losses.
Zone A, all residents living on Don Pedro Island, Knight Island (Palm Island), Little Gasparilla Island, Gasparilla Island and Manasota Key, and all residents in mobile homes and trailers
Zone A at 6 p.m.
Zone A, manufactured, mobile, and RV home residents, low-lying or flood- prone homes, and mandatory.
Locations in Florida experiencing rainfall totals >10 inches during Hurricane Ian as of 10:34 am EDT on 30 SEP 2022 (data from Stutler, 2022)